Department Of Public Works: Internal Operations

# A Checklist

There are over 800 municipalities in the Michigan Municipal League’s Pool and Fund Programs. Most perform public works functions of one type or another.  Some departments are very small, with one or two employees.  Other public works departments are very large with 100 or more employees.  Regardless of size, however, all Public Works Departments have some common areas of operations and, therefore, some shared concerns.  This document addresses some of the major issues that are common to all public works departments (DPW).

Public Works Facilities

The Department of Public Works (DPW) should, at a minimum, assure the following in its facilities and operations:

- Walkways and entries that  are safe for employees and citizens.

- It is important for these areas to free of trip or slip hazards.  During the winter months, maintaining walkways, to keep them clear of ice and snow, is essential.  Exits should be clearly visible and free of obstructions.  The department should not permit the storage of equipment or materials in front of or directly adjacent to exits.  Remember that both employees and the public use the DPW’s facility.

- Conduct regular inspections to assure walkways and entryways are free of recognized hazards.

- Well-maintained and accessible means of egress.

- A means of egress is a continuous and unobstructed way of exit travel from any point in a building or structure to a public way.  A means of egress has three distinct parts: (1) the way of exit access, (2) the exit, and (3) the way of exit discharge.

- Conduct regular inspections to assure all exits are accessible and functioning.

- Adequate heating, lighting and ventilation.

Heating

- Many activities take place in the DPW facility.  Always consider the facility “occupied.”  Temperature extremes can harm personnel and damage materials and equipment.  The negative effects that temperature extremes can generate may create conditions that lead to accidents and, therefore, indirectly to injuries and damage to the facility.

Lighting

- General lighting should produce uniform illumination throughout the workplace. Lighting should be sufficient to allow personnel to perform their duties easily.  Where greater illumination is necessary, the department should install increased general lighting or task lights.

Ventilation

- The DPW facility should have sufficient ventilation to assure a healthy and comfortable work environment.  The department should pay special attention to processes or activities that produce by-products such as vapor, gases, fumes, or dust that may be injurious to employees.

- Sufficient fire protection throughout facility.

- The DPW should view fire protection broadly.  Fire protection includes all measures the department takes to safeguard human life and the preservation of property through the prevention, detection and extinguishment of fire.  An effective fire loss control program:

(1) Prevents fires from occurring.

(2) Prevents the loss of life and personal injury should a fire occur.

(3) Protects property through prompt notification to the fire department.

(4) Leads to uninterrupted operations.

- Have qualified personnel conduct a review of department fire protection.

- Proper storage of flammables.

- The proper storage of flammables is critical to the prevention of fire.  One of the most effective steps the department can take is to store flammables properly.  Stored quantities should be less than 25 gal of Class IA liquids in containers or 120 gal of Classes IB, IC, II, or III liquids in containers and storage should be in an approved flammable storage cabinet.  Store small quantities of gasoline or other flammables (under five gallons) in UL listed safety cans.  If the department keeps larger quantities of flammables on hand, then it should build a properly ventilated and drained storage room.

- Posting and communication of the emergency preparedness plan to all employees.

- The department by itself or in cooperation with other departments should develop an emergency plan for fire and weather related emergencies.  The department should, at a minimum, post and assure that all employees understand the following:

- Emergency phone numbers.

- Site plan: The plan should clearly identify all routes of travel to exits and the location where employees should meet in case of fire. The drawing should also show the location of tornado shelters.

- Installed emergency lighting if the department uses the facility at night.

- For most public entities, public works is a twenty-four hour operation.  It is not unusual for crews to be working at night, particularly when power outages occur as a result of storms.  Emergency lighting is necessary to assure employees adequate lighting to conduct limited activities.

- Installation and regular inspection of security for the facility (that is, door locks, security system, windows, and panic hardware, smoke detection). Security for the DPW facility should be a major concern.

- The DPW facility stores a major portion of a municipality’s assets in equipment and materials.  Management should consult with local law enforcement to assure that the building has adequate security.  Tour the facility with a member of law enforcement to explore options that will provide the level of security that best meets the needs of the facility.

- Restricted access to the facility.

- Management should address personal use of the facility during non-working hours. Due to increased exposure to physical and personal injury losses, experts recommend that the DPW discontinue such personal use of the facility.  Implementing this recommendation can help a municipality to limit an unwanted liability exposure as well as potential personal injury exposures.

- During work hours, employees should lock the facility when it will be unattended to prevent theft, vandalism, or the unauthorized use of municipal assets.

- Implementation of a regular inventory program.

An inventory program is an effective means of monitoring department assets.  The program allows management to make informed decisions when planning work activities requiring tools or equipment, can thwart theft, and can improve purchasing of supplies and equipment.

The following checklist covers areas that are common to a thorough safety/health and loss control program.  Review the following for those activities that apply to your operations.

## DPW Checklist

Safety 				YES	NO

Written Management Policy

Is this policy management driven	(	(

Is policy communicated to employees	(	(

Is policy reviewed annually	(	(

Safety Committee

Does department have a safety committee	(	(

Does management attend 	(	(

Are accident reports reviewed	(	(

Are minutes kept		(	(

Are minutes distributed	(	(

Is there follow-up on recommendations	(	(

Is there a safety budget	(	(

Facilities Inspection

Are there routine inspections	(	(

Post-Accident inspections	(	(

Written reports and follow-up	(	(

Hazard Communications Program (Employee Right-to-Know)

Written Plan		(	(

Inventory Complete	(	(

MSDS’s on File		(	(

Portable Container Labeling	(	(

Posters Posted		(	(

Employees Trained -- Documented	(	(

Training for new Chemicals -- Documented	(	(

Annual Refresher -- Documented	(	(

Lockout Program

Written Program		(	(

Hazardous Energy Survey	(	(

Locks Available (one lock -- one employee) 	(	(

Lockout Devices Available	(	(

Authorized Employee Training Provision	(	(

Affected Employee Training Provided	(	(

Lockout Program		YES	NO

General Employee Training Provided	(	(

Annual Analysis of Effective Lock-Out for All Affected Employees 	(	(

Training And Annual Analysis Documented	(	(

Cranes and Hoists

Operators Trained and Authorized	(	(

Inspect Operating Parts Daily, Ropes Monthly	(	(

Controls Clearly Marked	(	(

Rated Load Marked (each side)	(	(

Scheduled Maintenance Records Maintained	(	(

Cables, Chains Inspected	(	(

Abrasive Wheels

Guards on nuts, flanges and spinet ends	(	(

Work Rests 1/8” clearance maximum	(	(

Upper peripheral member in place (1/4” clearance maximum)	(	(

Secure mounting		(	(

Machinery and Equipment

Published Lockout Procedure	(	(

Locks issued		(	(

Each machine and equipment provided with own means 	(	(

of power, disconnect, capable of being locked out

Power Transmission

Moving Parts, point of operation, nip pointed guarded	(	(

Power drive belts, chains and fans fully enclosed up	(	(

to 7’ above floor

Counterweights enclosed or safety cables attached	(	(

Hand and Power Tools

Constant pressure switches	(	(

Saw guarding functioning	(	(

Special training and guards for power activated tools	(	(

Prohibit cleaning of clothing with compressed air	(	(

Compressed air for cleaning work areas limited to 30 PSI	(	(

Electrical power tools double insulated and grounded	(	(

Emergency Plans	YES	NO

Fire 				(	(

Natural			(	(

Chemical			(	(

Employee Meeting Place	(	(

Alarm System	(	(

Plan Posted	(	(

Safety Glasses

Area designation/postings	(	(

Side shields			(	(

Face shields/goggles available	(	(

Eye protection meets ANSI standards	(	(

Safety Shoe Plan

Designated work procedures	(	(

Designated employees	(	(

Confined Space Entry Program

Written Plan		(	(

Confined Space Designated	(	(

Air Monitoring Conducted	(	(

Egress Plan		(	(

Egress Equipment Available	(	(

Respirators Required	(	(

Hot Work Permits		(	(

Entry Permits		(	(

Accident Investigation

Written Accident Report	(	(

Reviewed by Safety Committee	(	(

Reports Reviewed by Management	(	(

New and/or Temporary Employee Training

Orientation			(	(

Hazardous Substances	(	(

Hazard Communication/Right-to-Know Law	(	(

Documentation		(	(

Personal Protective Equipment	(	(

Flammable/Combustible Liquids	YES	NO

Containers covered when not in use	(	(

Safety cans for storing and dispensing	(	(

Bonding cables provided when necessary	(	(

Limit of one day supply outside storage area	(	(

Adequate fire protection provided	(	(

Open flames and smoking prohibited	(	(

Labeled “Flammable -- Keep Fire Away”	(	(

Hazardous Materials

Toxic, caustic chemical identified.  Proper precautionary signs	(	(

Specialized first aid	(	(

Specialized emergency procedures	(	(

Electrical Safety

Grounded circuits and systems	(	(

Electrical equipment grounded	(	(

Controls and switches properly identified	(	(

Prohibit use of extension cords in place of fixed wiring	(	(

Special equipment for hazardous locations	(	(

High voltage signage where necessary	(	(

Electrical panels/switches covered/enclosed	(	(

Portable Ladders

Proper type stepladder: Industrial Type I or Commercial Type II.	(	(

ANSI approved		(	(

Rung spacing uniform (12” or less)	(	(

Non-slip bases or safety feet	(	(

Frequently  inspected	(	(

Damaged ladders repaired or replaced	(	(

Metal ladders kept away from electrical hazards and so marked	(	(

Fixed Ladders

Cage or safety device over 20’	(	(

Extension for step-through or side-step fixed ladder	(	(

Hearing Protection Program

Written Plan/Program	(	(

Noise survey conducted	(	(

Engineering controls adequate	(	(

Hearing Protection Program (continued)	YES	NO

Administrative controls considered	(	(

Hearing protection provided	(	(

Required for specific tasks	(	(

First Aid/CPR Training

Employees on each shift trained	(	(

First Aid supplies available	(	(

Emergency phone numbers and procedures posted	(	(

Eyewash/emergency showers	(	(

Traffic Regulator ( flagger) Training

Employees have viewed training video and traffic regulator manual	(	(

Employees use proper personal protective equipment	(	(

Personal Protective Equipment

PPE hazard assessment completed (see attached form)	(	(

Written procedures for use of PPE	(	(

Routine inspection and replacement	(	(

Safety glasses with side shields	(	(

Face shields		(	(

Job specific goggles	(	(

Foot protection		(	(

Head protection		(	(

Gloves			(	(

Aprons			(	(

Ear protection		(	(

Fire Protection Program

Proper extinguisher types, sizes and number	(	(

Fire extinguishers mounted and location clearly marked	(	(

Inspected monthly and annually	(	(

Employees trained in use	(	(

Sprinkler valves open, tagged, sealed or locked	(	(

Fire Protection system tested and alarms operative	(	(

Adequate sprinkler head clearances to stock (18 - 36 inches)	(	(

Combustible scrap and debris removed from 	(	(

work areas at regular intervals

Exits

Sufficient for occupancy (not less than 2 for each fire area)	(	(

Doors unlocked or have panic hardware	(	(

Clearly visible or marked routes	(	(

Signs posted.  (6” letters)	(	(

Doors swing out to safe discharge area	(	(

Emergency exits kept clear of snow and ice	(	(

Housekeeping

The best housekeeping results when the organization holds each individual responsible for maintaining order in his or her work area.  Management should allow an appropriate amount of time in the daily schedule for housekeeping activities.  In addition, if proper housekeeping requires special equipment or materials, management should provide them and should provide training in their purpose and use.

Proper waste disposal available	(	(

Work areas designated	(	(

Adequate storage for material	(	(

Proper tools for clean up available	(	(

Housekeeping

Responsibility for aisles and walkways assigned	(	(

Cleaning schedules developed, posted, and monitored	(	(

Procedures for clean up of spills and leaks	(	(

Conclusions

(	The areas of exposure listed in the checklist are inherent to the operation of your public works department.  If you were able to answer “yes” to questions regarding these areas of exposure, you should congratulate yourself!

(	If you were unable to answer “yes” to the above questions, you should address those areas in which you were deficient. After correcting the deficient areas, you will have a sound safety/health and loss control program on which you can build.

If you need additional assistance, contact:

Michigan Department of Labor, CET Division, 517/322-1809

MML Risk Management Services, 800/653-2483

Loss Control Services, 800/482-0626

### Note

This document is not intended to be legal advice or implied to identify all safety/health or loss control issues.  Public agencies are encouraged to contact their loss control specialist for assistance in implementing these or other changes.